AMERICAN STEEL FRAME HOUSING

SteelFrameHousing.US, Inc.

4744 North Royal Atlanta Dr. Suite B-1 TUCKER, GA 30084-5430 Ph: 1-770-7237776 Fax: 1-770-723-3470

E-mail: usa@steelframehousing.org  Web site: www.steelframehousing.org ; www.affordablehousingworldwide.org

Effective December 2005

INSTALLATION INSTRUCTIONS - PRIMEPLUS® SEALER AND PRIMER & COLORPLUS® TECHNOLOGY TREATED PRODUCTS

SELECT CEDARMILL© - SMOOTH - COLONIAL SMOOTH® - COLONIAL ROUGHSAWN® - BEADED CEDARMILL©
BEADED SMOOTH - STRAIGHT-EDGE SHINGLE PLANK

IMPORTANT: FAILURE TO INSTALL AND FINISH THIS PRODUCT IN ACCORDANCE WITH APPLICABLE BUILDING CODES AND STEEL FRAME HOUSING.US APPLICATION INSTRUCTIONS MAY LEAD TO AFFECT SYSTEM PERFORMANCE, AND VOID THE PRODUCT ONLY WARRANTY.

STORAGE & HANDLING:
Store flat and keep dry prior to installation. Carry planks on edge. Protect edges and corners from breakage. James Hardie is not responsible for damage caused by improper storage and handling of the product.

GENERAL REQUIREMENTS

- Fiber cement lap siding can be installed over braced wood or steel studs spaced a maximum of 24" o.c. or directly to minimum 7/16" thick OSB sheathing*. Cement plank lap siding can also be installed over foam insulation up to 1" thick. Irregularities in framing, sheathing, and/or foam insulation can mirror through the finished application.

- A Weather-resistive barrier is required in accordance with local building code requirements. The weather resistive barrier must be appropriately installed with penetration and junction flashings in accordance with local building code requirements. James Hardie will assume no responsibility for water infiltration.

- Install cement panel products with a minimum 6" clearance to the finished grade on the exterior of the building or in accordance with local building codes if greater than 6" is required (fig. 3).

- Maintain a minimum 2" clearance between Fiber cement products and roofs, decks, paths, steps and driveways (figs. 4 & 5).

- Maintain a 1/4" clearance between James Hardie products and horizontal flashing (fig. 6).

- Install kickout flashing at roof-wall junctions. (fig. 7.) Ensure gutters have end caps and do not terminate against siding and trim.

- Adjacent finished grade must slope away from the building in accordance with local building codes - typically a minimum of 6" in the first 10'.

INSTALLATION:
Install a 1 1/4" starter strip to ensure a consistent plank angle (Figure 1).

Install factory finished edges together at butt joints.

*If only nailed to sheathing, plank can be a maximum 9-1/4" wide and must be face nailed at 12" o.c. with 0.091" shank x 0.221 HD x 1.5" long corrosion resistant nails.

CLEARANCES

| Install siding and trim products in compliance with local building code requirements for clearance between the bottom edge of the siding and the adjacent finished grade. |  |
| --- | --- |
| Maintain a minimum 2" clearance between fiber cement products and decks, paths, steps and driveways. |  |
| At the juncture of the roof and vertical surfaces, flashing and counter flashing shall be provided per the roofing manufacturer's instructions. Provide a 2" clearance between the roofing and the bottom edge of the siding and trim. |  |
| Maintain a 1/4" clearance between the bottom of fiber cement panel products and horizontal flashing. Do not caulk gap. |  |

KICKOUT FLASHING
Because of the volume of water that can pour down a sloped roof, one of the most critical flashing details occurs where a roof intersects a sidewall. The roof must be flashed with step flashing. Where the roof terminates, install a kickout to deflect water away from the siding (figure 7).

It is best to install a full rubberized asphalt flashing on the wall before the subfascia and trim boards are nailed in place, and then come back to install the kickout.

Figure 7, Kickout Flashing To prevent water from dumping behind the siding and the end of the roof intersection, bend a small "kickout" from metal flashing to divert water running down the roof away from the siding.

FASTENER REQUIREMENTS**

FACE NAILING
Corrosion Resistant Nails (galvanized or stainless steel)

  6d (0.113" shank x 0.267" HD x 2" long)

  Siding nail (0.089" shank x 0.221" HD x 2" long)

  Siding nail (0.091" shank x 0.221" HD x 1-1/2" long)*

Corrosion Resistant Screws

  Ribbed Wafer-head or equivalent (No. 8-18 x 0.323" HD x 1-5/8" long) Screws must penetrate 1/4" or 3 threads into metal framing.

Corrosion Resistant Fasteners

  ET & F pin (0.100" shank x 0.25" HD x 1-1/2" long)

BLIND NAILING**
Corrosion Resistant Nails (galvanized or stainless steel)

  Siding nail (0.089" shank x 0.221" HD x 1-1/4" long)

  11 ga. roofing nail (0.121" shank x 0.371" HD x 1-1/4" long)

Corrosion Resistant Screws

  Ribbed Wafer-head or equivalent (No. 8-18 x 0.323" HD x 1 5/8" long) Screws must penetrate 1/4" or 3 threads into metal framing.

Corrosion Resistant Fasteners

  ET & F Panelfast™ (0.100" shank x 0.313" HD x 1-1/2" long)

Laminate sheet to be removed immediately after installation of each course.

GENERAL FASTENING REQUIREMENTS
Fasteners must be corrosion resistant, galvanized, or stainless steel. Electro-galvanized are acceptable but may exhibit premature corrosion. Seller recommends the use of quality, hot-dipped galvanized nails. Seller is not responsible for the corrosion resistance of fasteners. Stainless steel fasteners are recommended when installing Fiber cement siding products near the ocean, large bodies of water, or in very humid climates.

PNEUMATIC FASTENING
Fiber cement products can be hand nailed or fastened with a pneumatic tool. Pneumatic fastening is highly recommended. Set air pressure so that the fastener is driven snug with the surface of the siding. A flush mount attachment on the pneumatic tool is recommended. This will help control the depth the nail is driven. If setting the nail depth proves difficult, choose a setting that under drives the nail. Drive under driven nails snug with a smooth faced hammer.

- Consult applicable code compliance report for correct fasteners type and placement to achieve specified design wind loads and shear values.

- NOTE: Published shear values and wind loads may not be applicable to all areas where Local Building Codes have specific jurisdiction. Consult Fiber cement Technical Services if you are unsure of applicable compliance documentation.

- Drive fasteners perpendicular to siding and framing.

- Fastener heads should fit snug against siding (no air space). (Fig. A)

- Do not over-drive nail heads or drive nails at an angle.

- If nail is countersunk, caulk nail hole and add a nail. (Fig. B)

- Under driven nails should be hit flush to the plank with a hammer.

- Do not use aluminum fasteners, staples, or clipped head nails.

CUT EDGE TREATMENT
Caulk, paint or prime all field cut edges.

CAULKING
For best results use a latex sealant that is compatible with the local weather conditions. Caulking must be applied in accordance with the caulking manufacturer's written instructions.

PAINTING
Fiber Cement products must be painted.* 100% acrylic topcoats are recommended. Do not paint when wet. For application rates refer to paint manufacturers specifications. Back-rolling is recommended if the siding is sprayed.
*within 180 days for primed product and 90 days for unprimed

COVERAGE CHART/ESTIMATING GUIDE
Number of 12' planks, does not include waste

This coverage chart is meant as a guide. Actual usage is subject to variables such as building design.

This coverage chart is meant as a guide. Actual usage is subject to variables such as building design. Steel Frame Housing.US, Inc. does not assume responsibility for over or under ordering of product.

________________________________________________________________________________

RECOGNITION: In accordance with ICC-ES Legacy Report NER-405, Cement plank lap siding is recognized as a suitable alternate to that specified in: BOCA National Building Code/1999, the 1997 Standard Building Code, the 1997 Uniform Building Code, the 1998 International One- and Two-Family Dwelling Code, the 2003 International Residential Code for One- and Two-Family Dwellings. Cement plank lap siding is also recognized for application in the following: City of Los Angeles Research Report No. 24682, State of Florida listing FL#889, Dade County, Florida NOA No. 02-0729.02, U.S. Dept. of HUD Materials Release 1263c, Texas Department of Insurance Product Evaluation EC-23, City of New York MEA 223-93-M, and California DSA PA-019. These documents should also be consulted for additional information concerning the suitability of this product for specific applications.